## Slide 1: ID16B
Source
DWM
DCM
Secondary
Slits
35 m
30 m

## Slide 2: Layout ID09
Configs: 19.905 keV, Toroidal mirror: Pd, 2.489 mrad & 2.989 mrad, Sagittal radius: 46.07 mm, Meridional radius: 14 km
Toroidal mirror
55.84 m
44.54 m
HPI27
27.066 m
H - 1.0 mm x V - 1.0 mm
Source
0 m
Primary slits
Screen
xeye

## Slide 3: Layout – ID09
Configs: 19.905 keV, Toroidal mirror: Pd, 2.489 mrad & 2.989 mrad, Sagittal radius: 46.07 mm, Meridional radius: 14 km
Toroidal mirror
55.84 m
44.54 m
IVU17
27.066 m
Source
0 m
Primary slits
Screen
xeye
Monochromator
31.4 m

## Slide 4: Layout - PANOSC
Source
FE-diamond window (0.3 mm)
HPPS @
27.340 m
Diamond filter @ 28.190 m
0.5 mm
HHLM @ 31 m
WB transfocator entrance
@ 28.525 m
WB Stop @ 32.375 m

## Slide 5: Layout considered for this study – ID17
Source
Vitreous
Carbon (Cv)
Be Filter
Front End
1.51 g/cm3
0.3 mm
0.5 mm
Side View
Be Window
Be Window
COOLED CF100
Be Window
COOLED CF100
0.5 mm
OH1
0.5 mm
LOW ENERGIES CONFIGURATION (30-50 keV)
23.3 m
23.7 m
28.1 m
30.3 m
30.5 m
PS: H 35 mm / V 1.5 mm
Primary
Slits
137.6 m
SS: H 150 mm / V 5 mm
Secondary
Slits
Continuation
0.8 mm
138.5 m
Sat. Build.
Distance to source:
Al
0.5 mm
No attenuators on OH1
Al
2 mm
Attenuators in Satellite building
@ 138.5 m from source:
  Filter 1: Carbon 0.8 mm
  Filter 2: Al 0.5 mm
  Filter 3: Al 2.0 mm

## Slide 6: ID19 In-line Monochromator layout
U22
Transfocator
Pinhole
37.075 m
30.075 m
HPPS
Diamond
Window
28.58 m
H - 1.34 m x V - 1.34 m
0.8 mm
Image

## Slide 7: ID29
Source
DMM
KBs
Secondary
Slits ?
105m (10-20keV)
112.3m (35keV)
31.5 m
0.3 mm
Diamond
Window
Front End
Chopper
35m